## LFL-LED Cross (Elitenet)
Linear Fluorescent | [12 empty] | Type A - Glass | [10 empty] | Type A - Plastic
Order Code | Description | Shape | Base | Watts | Nominal Length(in) | Case Qty | Rated Life (3hr/Start) | Rated Life (12hr/Start) | Initial Lumens | Mean Lumens | Color Temp K | CRI | PC | Description | Bulb | Base | Watts | Nominal Length(in) | QTY | Life (L70) | Initial Lumens | Color Temp K | CRI | PC | Description | Bulb | Base | Watts | Nominal Length(in) | QTY | Life (L70) | Initial Lumens | Color Temp K | CRI
45741 | F17T8/SP30/ECO | T8 | G13 | 17 | 24 | 24 | 30000 | 36000 | 1325 | 1260 | 3000 | 78 | 35775 | LED8ET8/G/2/830 | T8 | G13 | 8 | 24 | 20 | 50000 | 1300 | 3000K | 80+ | 31557 | LED9ET8/2/830 | T8 | G13 | 9 | 24 | 25 | 50000 | 1350 | 3000K | 80+
45743 | F17T8/SP35/ECO | T8 | G13 | 17 | 24 | 24 | 30000 | 36000 | 1325 | 1260 | 3500 | 78 | 35776 | LED8ET8/G/2/835 | T8 | G13 | 8 | 24 | 20 | 50000 | 1350 | 3500K | 80+ | 26635 | LED9ET8/2/835 | T8 | G13 | 9 | 24 | 25 | 50000 | 1350 | 3500K | 80+
45748 | F17T8/SP41/ECO | T8 | G13 | 17 | 24 | 24 | 30000 | 36000 | 1325 | 1260 | 4100 | 78 | 35778 | LED8ET8/G/2/840 | T8 | G13 | 8 | 24 | 20 | 50000 | 1350 | 4000K | 80+ | 26648 | LED9ET8/2/840 | T8 | G13 | 9 | 24 | 25 | 50000 | 1400 | 4000K | 80+
45742 | F17T8/SPX30/ECO | T8 | G13 | 17 | 24 | 24 | 30000 | 36000 | 1350 | 1280 | 3000 | 85 | 35775 | LED8ET8/G/2/830 | T8 | G13 | 8 | 24 | 20 | 50000 | 1300 | 3000K | 80+ | 31557 | LED9ET8/2/830 | T8 | G13 | 9 | 24 | 25 | 50000 | 1350 | 3000K | 80+
45747 | F17T8/SPX35/ECO | T8 | G13 | 17 | 24 | 24 | 30000 | 36000 | 1350 | 1280 | 3500 | 85 | 35776 | LED8ET8/G/2/835 | T8 | G13 | 8 | 24 | 20 | 50000 | 1350 | 3500K | 80+ | 26635 | LED9ET8/2/835 | T8 | G13 | 9 | 24 | 25 | 50000 | 1350 | 3500K | 80+
45749 | F17T8/SPX41/ECO | T8 | G13 | 17 | 24 | 24 | 30000 | 36000 | 1350 | 1280 | 4100 | 85 | 35778 | LED8ET8/G/2/840 | T8 | G13 | 8 | 24 | 20 | 50000 | 1350 | 4000K | 80+ | 26648 | LED9ET8/2/840 | T8 | G13 | 9 | 24 | 25 | 50000 | 1400 | 4000K | 80+
15476 | F17T8/XL/SP30/ECO | T8 | G13 | 17 | 24 | 24 | 40000 | 45000 | 1325 | 1260 | 3000 | 78 | 35775 | LED8ET8/G/2/830 | T8 | G13 | 8 | 24 | 20 | 50000 | 1300 | 3000K | 80+ | 31557 | LED9ET8/2/830 | T8 | G13 | 9 | 24 | 25 | 50000 | 1350 | 3000K | 80+
15479 | F17T8/XL/SP35/ECO | T8 | G13 | 17 | 24 | 24 | 40000 | 45000 | 1325 | 1260 | 3500 | 78 | 35776 | LED8ET8/G/2/835 | T8 | G13 | 8 | 24 | 20 | 50000 | 1350 | 3500K | 80+ | 26635 | LED9ET8/2/835 | T8 | G13 | 9 | 24 | 25 | 50000 | 1350 | 3500K | 80+
15480 | F17T8/XL/SP41/ECO | T8 | G13 | 17 | 24 | 24 | 40000 | 45000 | 1325 | 1260 | 4100 | 78 | 35778 | LED8ET8/G/2/840 | T8 | G13 | 8 | 24 | 20 | 50000 | 1350 | 4000K | 80+ | 26648 | LED9ET8/2/840 | T8 | G13 | 9 | 24 | 25 | 50000 | 1400 | 4000K | 80+
15481 | F17T8/XL/SPX30/ECO | T8 | G13 | 17 | 24 | 24 | 40000 | 45000 | 1350 | 1280 | 3000 | 85 | 35775 | LED8ET8/G/2/830 | T8 | G13 | 8 | 24 | 20 | 50000 | 1300 | 3000K | 80+ | 31557 | LED9ET8/2/830 | T8 | G13 | 9 | 24 | 25 | 50000 | 1350 | 3000K | 80+
15483 | F17T8/XL/SPX35/ECO | T8 | G13 | 17 | 24 | 24 | 40000 | 45000 | 1350 | 1280 | 3500 | 85 | 35776 | LED8ET8/G/2/835 | T8 | G13 | 8 | 24 | 20 | 50000 | 1350 | 3500K | 80+ | 26635 | LED9ET8/2/835 | T8 | G13 | 9 | 24 | 25 | 50000 | 1350 | 3500K | 80+
15484 | F17T8/XL/SPX41/ECO | T8 | G13 | 17 | 24 | 24 | 40000 | 45000 | 1350 | 1280 | 4100 | 85 | 35778 | LED8ET8/G/2/840 | T8 | G13 | 8 | 24 | 20 | 50000 | 1350 | 4000K | 80+ | 26648 | LED9ET8/2/840 | T8 | G13 | 9 | 24 | 25 | 50000 | 1400 | 4000K | 80+
10415 | F17T8/XL/SPX50/ECO | T8 | G13 | 17 | 24 | 24 | 40000 | 45000 | 1300 | 1235 | 5000 | 82 | 35779 | LED8ET8/G/2/850 | T8 | G13 | 8 | 24 | 20 | 50000 | 1400 | 5000K | 80+ | 26676 | LED9ET8/2/850 | T8 | G13 | 9 | 24 | 25 | 50000 | 1400 | 5000K | 80+
16092 | F17T8/XL/SPX65/ECO | T8 | G13 | 17 | 24 | 24 | 40000 | 45000 | 1250 | 1125 | 6500 | 78 | [11 empty] | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
83833 | F17T8/SXL/SPX35/ECO | T8 | G13 | 17 | 24 | 24 | 55000 | 57000 |  |  | 3500 | 85 | 35776 | LED8ET8/G/2/835 | T8 | G13 | 8 | 24 | 20 | 50000 | 1350 | 3500K | 80+ | 26635 | LED9ET8/2/835 | T8 | G13 | 9 | 24 | 25 | 50000 | 1350 | 3500K | 80+
83834 | F17T8/SXL/SPX41/ECO | T8 | G13 | 17 | 24 | 24 | 55000 | 57000 |  |  | 4100 | 85 | 35778 | LED8ET8/G/2/840 | T8 | G13 | 8 | 24 | 20 | 50000 | 1350 | 4000K | 80+ | 26648 | LED9ET8/2/840 | T8 | G13 | 9 | 24 | 25 | 50000 | 1400 | 4000K | 80+
83836 | F17T8/SXL/SPX50/ECO | T8 | G13 | 17 | 24 | 24 | 55000 | 57000 |  |  | 5000 | 82 | 35779 | LED8ET8/G/2/850 | T8 | G13 | 8 | 24 | 20 | 50000 | 1400 | 5000K | 80+ | 26676 | LED9ET8/2/850 | T8 | G13 | 9 | 24 | 25 | 50000 | 1400 | 5000K | 80+
45750 | F25T8/SP30/ECO | T8 | G13 | 25 | 36 | 24 | 30000 | 36000 | 2080 | 1970 | 3000 | 78 | 35783 | LED11ET8/G/3/830 | T8 | G13 | 11 | 36 | 20 | 50000 | 1450 | 3000K | 80+ | 31554 | LED12ET8/3/830 | T8 | G13 | 12 | 36 | 25 | 50000 | 1500 | 3000K | 80+
45754 | F25T8/SP35/ECO | T8 | G13 | 25 | 36 | 24 | 30000 | 36000 | 2080 | 1970 | 3500 | 78 | 35784 | LED11ET8/G/3/835 | T8 | G13 | 11 | 36 | 20 | 50000 | 1500 | 3500K | 80+ | 26544 | LED12ET8/3/835 | T8 | G13 | 12 | 36 | 25 | 50000 | 1550 | 3500K | 80+
45756 | F25T8/SP41/ECO | T8 | G13 | 25 | 36 | 24 | 30000 | 36000 | 2080 | 1970 | 4100 | 78 | 35788 | LED11ET8/G/3/840 | T8 | G13 | 11 | 36 | 20 | 50000 | 1500 | 4000K | 80+ | 26625 | LED12ET8/3/840 | T8 | G13 | 12 | 36 | 25 | 50000 | 1550 | 4000K | 80+
45753 | F25T8/SPX30/ECO | T8 | G13 | 25 | 36 | 24 | 30000 | 36000 | 2150 | 2040 | 3000 | 85 | 35783 | LED11ET8/G/3/830 | T8 | G13 | 11 | 36 | 20 | 50000 | 1450 | 3000K | 80+ | 31554 | LED12ET8/3/830 | T8 | G13 | 12 | 36 | 25 | 50000 | 1500 | 3000K | 80+
45755 | F25T8/SPX35/ECO | T8 | G13 | 25 | 36 | 24 | 30000 | 36000 | 2150 | 2040 | 3500 | 85 | 35784 | LED11ET8/G/3/835 | T8 | G13 | 11 | 36 | 20 | 50000 | 1500 | 3500K | 80+ | 26544 | LED12ET8/3/835 | T8 | G13 | 12 | 36 | 25 | 50000 | 1550 | 3500K | 80+
45757 | F25T8/SPX41/ECO | T8 | G13 | 25 | 36 | 24 | 30000 | 36000 | 2150 | 2040 | 4100 | 85 | 35788 | LED11ET8/G/3/840 | T8 | G13 | 11 | 36 | 20 | 50000 | 1500 | 4000K | 80+ | 26625 | LED12ET8/3/840 | T8 | G13 | 12 | 36 | 25 | 50000 | 1550 | 4000K | 80+
15486 | F25T8/XL/SP30/ECO | T8 | G13 | 25 | 36 | 24 | 40000 | 45000 | 2080 | 1970 | 3000 | 78 | 35783 | LED11ET8/G/3/830 | T8 | G13 | 11 | 36 | 20 | 50000 | 1450 | 3000K | 80+ | 31554 | LED12ET8/3/830 | T8 | G13 | 12 | 36 | 25 | 50000 | 1500 | 3000K | 80+
15487 | F25T8/XL/SP35/ECO | T8 | G13 | 25 | 36 | 24 | 40000 | 45000 | 2080 | 1970 | 3500 | 78 | 35784 | LED11ET8/G/3/835 | T8 | G13 | 11 | 36 | 20 | 50000 | 1500 | 3500K | 80+ | 26544 | LED12ET8/3/835 | T8 | G13 | 12 | 36 | 25 | 50000 | 1550 | 3500K | 80+
15488 | F25T8/XL/SP41/ECO | T8 | G13 | 25 | 36 | 24 | 40000 | 45000 | 2080 | 1970 | 4100 | 78 | 35788 | LED11ET8/G/3/840 | T8 | G13 | 11 | 36 | 20 | 50000 | 1500 | 4000K | 80+ | 26625 | LED12ET8/3/840 | T8 | G13 | 12 | 36 | 25 | 50000 | 1550 | 4000K | 80+
15489 | F25T8/XL/SPX30/ECO | T8 | G13 | 25 | 36 | 24 | 40000 | 45000 | 2150 | 2040 | 3000 | 85 | 35783 | LED11ET8/G/3/830 | T8 | G13 | 11 | 36 | 20 | 50000 | 1450 | 3000K | 80+ | 31554 | LED12ET8/3/830 | T8 | G13 | 12 | 36 | 25 | 50000 | 1500 | 3000K | 80+
15490 | F25T8/XL/SPX35/ECO | T8 | G13 | 25 | 36 | 24 | 40000 | 45000 | 2150 | 2040 | 3500 | 85 | 35784 | LED11ET8/G/3/835 | T8 | G13 | 11 | 36 | 20 | 50000 | 1500 | 3500K | 80+ | 26544 | LED12ET8/3/835 | T8 | G13 | 12 | 36 | 25 | 50000 | 1550 | 3500K | 80+
15491 | F25T8/XL/SPX41/ECO | T8 | G13 | 25 | 36 | 24 | 40000 | 45000 | 2150 | 2040 | 4100 | 85 | 35788 | LED11ET8/G/3/840 | T8 | G13 | 11 | 36 | 20 | 50000 | 1500 | 4000K | 80+ | 26625 | LED12ET8/3/840 | T8 | G13 | 12 | 36 | 25 | 50000 | 1550 | 4000K | 80+
10416 | F25T8/XL/SPX50/ECO | T8 | G13 | 25 | 36 | 24 | 40000 | 45000 | 2050 | 1950 | 5000 | 82 | 35789 | LED11ET8/G/3/850 | T8 | G13 | 11 | 36 | 20 | 50000 | 1600 | 5000K | 80+ | 26627 | LED12ET8/3/850 | T8 | G13 | 12 | 36 | 25 | 50000 | 1650 | 5000K | 80+
16314 | F25T8/XL/SPX65/ECO | T8 | G13 | 25 | 36 | 24 | 40000 | 45000 | 1950 | 1755 | 6500 | 78 | [11 empty] | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
83955 | F25T8/SXL/SPX35/ECO | T8 | G13 | 25 | 36 | 24 | 55000 | 57000 |  |  | 3500 | 85 | 35784 | LED11ET8/G/3/835 | T8 | G13 | 11 | 36 | 20 | 50000 | 1500 | 3500K | 80+ | 26544 | LED12ET8/3/835 | T8 | G13 | 12 | 36 | 25 | 50000 | 1550 | 3500K | 80+
83956 | F25T8/SXL/SPX41/ECO | T8 | G13 | 25 | 36 | 24 | 55000 | 57000 |  |  | 4100 | 85 | 35788 | LED11ET8/G/3/840 | T8 | G13 | 11 | 36 | 20 | 50000 | 1500 | 4000K | 80+ | 26625 | LED12ET8/3/840 | T8 | G13 | 12 | 36 | 25 | 50000 | 1550 | 4000K | 80+
83957 | F25T8/SXL/SPX50/ECO | T8 | G13 | 25 | 36 | 24 | 55000 | 57000 |  |  | 5000 | 82 | 35789 | LED11ET8/G/3/850 | T8 | G13 | 11 | 36 | 20 | 50000 | 1600 | 5000K | 80+ | 26627 | LED12ET8/3/850 | T8 | G13 | 12 | 36 | 25 | 50000 | 1650 | 5000K | 80+
26666 | F32T8/SP30/ECO | T8 | G13 | 32 | 48 | 36 | 30000 | 36000 | 2600 | 2440 | 3000 | 78 | 35767 | LED18ET8/G/4/830 | T8 | G13 | 18 | 48 | 20 | 50000 | 2400 | 3000K | 80+ | 31550 | LED18ET8/4/830 | T8 | G13 | 18 | 48 | 25 | 50000 | 2450 | 3000K | 80+
26667 | F32T8/SP35/ECO | T8 | G13 | 32 | 48 | 36 | 30000 | 36000 | 2600 | 2440 | 3500 | 78 | 35768 | LED18ET8/G/4/835 | T8 | G13 | 18 | 48 | 20 | 50000 | 2500 | 3500K | 80+ | 93133 | LED18ET8/4/835 | T8 | G13 | 18 | 48 | 25 | 50000 | 2550 | 3500K | 80+
26668 | F32T8/SP41/ECO | T8 | G13 | 32 | 48 | 36 | 30000 | 36000 | 2600 | 2440 | 4100 | 78 | 35769 | LED18ET8/G/4/840 | T8 | G13 | 18 | 48 | 20 | 50000 | 2500 | 4000K | 80+ | 93135 | LED18ET8/4/840 | T8 | G13 | 18 | 48 | 25 | 50000 | 2550 | 4000K | 80+
16090 | F32T8/SP50/ECO | T8 | G13 | 32 | 48 | 36 | 30000 | 36000 | 2550 | 2395 | 5000 | 78 | 35772 | LED18ET8/G/4/850 | T8 | G13 | 18 | 48 | 20 | 50000 | 2600 | 5000K | 80+ | 93140 | LED18ET8/4/850 | T8 | G13 | 18 | 48 | 25 | 50000 | 2650 | 5000K | 80+
16091 | F32T8/SP65/ECO | T8 | G13 | 32 | 48 | 36 | 30000 | 36000 | 2550 | 2395 | 6500 | 73 | 35773 | LED18ET8/G/4/865 | T8 | G13 | 18 | 48 | 20 | 50000 | 2600 | 6500K | 80+ | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
25611 | F32T8/SPX30/ECO | T8 | G13 | 32 | 48 | 36 | 30000 | 36000 | 2925 | 2800 | 3000 | 85 | 35767 | LED18ET8/G/4/830 | T8 | G13 | 18 | 48 | 20 | 50000 | 2400 | 3000K | 80+ | 31550 | LED18ET8/4/830 | T8 | G13 | 18 | 48 | 25 | 50000 | 2450 | 3000K | 80+
25612 | F32T8/SPX35/ECO | T8 | G13 | 32 | 48 | 36 | 30000 | 36000 | 2925 | 2800 | 3500 | 85 | 35768 | LED18ET8/G/4/835 | T8 | G13 | 18 | 48 | 20 | 50000 | 2500 | 3500K | 80+ | 93133 | LED18ET8/4/835 | T8 | G13 | 18 | 48 | 25 | 50000 | 2550 | 3500K | 80+
25613 | F32T8/SPX41/ECO | T8 | G13 | 32 | 48 | 36 | 30000 | 36000 | 2925 | 2800 | 4100 | 85 | 35769 | LED18ET8/G/4/840 | T8 | G13 | 18 | 48 | 20 | 50000 | 2500 | 4000K | 80+ | 93135 | LED18ET8/4/840 | T8 | G13 | 18 | 48 | 25 | 50000 | 2550 | 4000K | 80+
42064 | F32T8/SPX50/ECO | T8 | G13 | 32 | 48 | 36 | 30000 | 36000 | 2880 | 2800 | 5000 | 82 | 35772 | LED18ET8/G/4/850 | T8 | G13 | 18 | 48 | 20 | 50000 | 2600 | 5000K | 80+ | 93140 | LED18ET8/4/850 | T8 | G13 | 18 | 48 | 25 | 50000 | 2650 | 5000K | 80+
66342 | F32T8/SPX65/ECO2 | T8 | G13 | 32 | 48 | 36 | 30000 | 36000 | 2900 | 2755 | 6500 | 78 | 35773 | LED18ET8/G/4/865 | T8 | G13 | 18 | 48 | 20 | 50000 | 2600 | 6500K | 80+ | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
68850 | F32T8/SPX30/ECO2 | T8 | G13 | 32 | 48 | 36 | 30000 | 36000 | 2925 | 2770 | 3000 | 85 | 35767 | LED18ET8/G/4/830 | T8 | G13 | 18 | 48 | 20 | 50000 | 2400 | 3000K | 80+ | 31550 | LED18ET8/4/830 | T8 | G13 | 18 | 48 | 25 | 50000 | 2450 | 3000K | 80+
68851 | F32T8/SPX35/ECO2 | T8 | G13 | 32 | 48 | 36 | 30000 | 36000 | 2925 | 2770 | 3500 | 85 | 35768 | LED18ET8/G/4/835 | T8 | G13 | 18 | 48 | 20 | 50000 | 2500 | 3500K | 80+ | 93133 | LED18ET8/4/835 | T8 | G13 | 18 | 48 | 25 | 50000 | 2550 | 3500K | 80+
68852 | F32T8/SPX41/ECO2 | T8 | G13 | 32 | 48 | 36 | 30000 | 36000 | 2925 | 2770 | 4100 | 85 | 35769 | LED18ET8/G/4/840 | T8 | G13 | 18 | 48 | 20 | 50000 | 2500 | 4000K | 80+ | 93135 | LED18ET8/4/840 | T8 | G13 | 18 | 48 | 25 | 50000 | 2550 | 4000K | 80+
68853 | F32T8/SPX50/ECO2 | T8 | G13 | 32 | 48 | 36 | 30000 | 36000 | 2900 | 2755 | 5000 | 82 | 35772 | LED18ET8/G/4/850 | T8 | G13 | 18 | 48 | 20 | 50000 | 2600 | 5000K | 80+ | 93140 | LED18ET8/4/850 | T8 | G13 | 18 | 48 | 25 | 50000 | 2650 | 5000K | 80+
66347 | F32T8/SPP30/ECO | T8 | G13 | 32 | 48 | 36 | 30000 | 36000 | 2900 | 2725 | 3000 | 80 | 35767 | LED18ET8/G/4/830 | T8 | G13 | 18 | 48 | 20 | 50000 | 2400 | 3000K | 80+ | 31550 | LED18ET8/4/830 | T8 | G13 | 18 | 48 | 25 | 50000 | 2450 | 3000K | 80+
66348 | F32T8/SPP35/ECO | T8 | G13 | 32 | 48 | 36 | 30000 | 36000 | 2900 | 2725 | 3500 | 80 | 35768 | LED18ET8/G/4/835 | T8 | G13 | 18 | 48 | 20 | 50000 | 2500 | 3500K | 80+ | 93133 | LED18ET8/4/835 | T8 | G13 | 18 | 48 | 25 | 50000 | 2550 | 3500K | 80+
66349 | F32T8/SPP41/ECO | T8 | G13 | 32 | 48 | 36 | 30000 | 36000 | 2900 | 2725 | 4100 | 80 | 35769 | LED18ET8/G/4/840 | T8 | G13 | 18 | 48 | 20 | 50000 | 2500 | 4000K | 80+ | 93135 | LED18ET8/4/840 | T8 | G13 | 18 | 48 | 25 | 50000 | 2550 | 4000K | 80+
66350 | F32T8/SPP50/ECO | T8 | G13 | 32 | 48 | 36 | 30000 | 36000 | 2900 | 2725 | 5000 | 80 | 35772 | LED18ET8/G/4/850 | T8 | G13 | 18 | 48 | 20 | 50000 | 2600 | 5000K | 80+ | 93140 | LED18ET8/4/850 | T8 | G13 | 18 | 48 | 25 | 50000 | 2650 | 5000K | 80+
66351 | F32T8/SPP65/ECO | T8 | G13 | 32 | 48 | 36 | 30000 | 36000 | 2900 | 2725 | 6500 | 80 | 35773 | LED18ET8/G/4/865 | T8 | G13 | 18 | 48 | 20 | 50000 | 2600 | 6500K | 80+
27616 | F32T8/XL/SP30/ECO | T8 | G13 | 32 | 48 | 36 | 40000 | 45000 | 2800 | 2660 | 3000 | 78 | 35767 | LED18ET8/G/4/830 | T8 | G13 | 18 | 48 | 20 | 50000 | 2400 | 3000K | 80+ | 31550 | LED18ET8/4/830 | T8 | G13 | 18 | 48 | 25 | 50000 | 2450 | 3000K | 80+
27617 | F32T8/XL/SP35/ECO | T8 | G13 | 32 | 48 | 36 | 40000 | 45000 | 2800 | 2660 | 3500 | 78 | 35768 | LED18ET8/G/4/835 | T8 | G13 | 18 | 48 | 20 | 50000 | 2500 | 3500K | 80+ | 93133 | LED18ET8/4/835 | T8 | G13 | 18 | 48 | 25 | 50000 | 2550 | 3500K | 80+
27618 | F32T8/XL/SP41/ECO | T8 | G13 | 32 | 48 | 36 | 40000 | 45000 | 2800 | 2660 | 4100 | 78 | 35769 | LED18ET8/G/4/840 | T8 | G13 | 18 | 48 | 20 | 50000 | 2500 | 4000K | 80+ | 93135 | LED18ET8/4/840 | T8 | G13 | 18 | 48 | 25 | 50000 | 2550 | 4000K | 80+
27619 | F32T8/XL/SPX30/ECO | T8 | G13 | 32 | 48 | 36 | 40000 | 45000 | 2925 | 2800 | 3000 | 85 | 35767 | LED18ET8/G/4/830 | T8 | G13 | 18 | 48 | 20 | 50000 | 2400 | 3000K | 80+ | 31550 | LED18ET8/4/830 | T8 | G13 | 18 | 48 | 25 | 50000 | 2450 | 3000K | 80+
27620 | F32T8/XL/SPX35/ECO | T8 | G13 | 32 | 48 | 36 | 40000 | 45000 | 2925 | 2800 | 3500 | 85 | 35768 | LED18ET8/G/4/835 | T8 | G13 | 18 | 48 | 20 | 50000 | 2500 | 3500K | 80+ | 93133 | LED18ET8/4/835 | T8 | G13 | 18 | 48 | 25 | 50000 | 2550 | 3500K | 80+
27621 | F32T8/XL/SPX41/ECO | T8 | G13 | 32 | 48 | 36 | 40000 | 45000 | 2925 | 2800 | 4100 | 85 | 35769 | LED18ET8/G/4/840 | T8 | G13 | 18 | 48 | 20 | 50000 | 2500 | 4000K | 80+ | 93135 | LED18ET8/4/840 | T8 | G13 | 18 | 48 | 25 | 50000 | 2550 | 4000K | 80+
16313 | F32T8/XL/SPX50/ECO | T8 | G13 | 32 | 48 | 36 | 40000 | 45000 | 2880 | 2660 | 5000 | 82 | 35772 | LED18ET8/G/4/850 | T8 | G13 | 18 | 48 | 20 | 50000 | 2600 | 5000K | 80+ | 93140 | LED18ET8/4/850 | T8 | G13 | 18 | 48 | 25 | 50000 | 2650 | 5000K | 80+
16089 | F32T8/XL/SPX65/ECO | T8 | G13 | 32 | 48 | 36 | 40000 | 45000 | 2880 | 2475 | 6500 | 78 | 35773 | LED18ET8/G/4/865 | T8 | G13 | 18 | 48 | 20 | 50000 | 2600 | 6500K | 80+ | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
68854 | F32T8/XL/SPX30E2 | T8 | G13 | 32 | 48 | [5 empty] | 3000 | 85 | 35767 | LED18ET8/G/4/830 | T8 | G13 | 18 | 48 | 20 | 50000 | 2400 | 3000K | 80+ | 31550 | LED18ET8/4/830 | T8 | G13 | 18 | 48 | 25 | 50000 | 2450 | 3000K | 80+
68855 | F32T8/XL/SPX35E2 | T8 | G13 | 32 | 48 | [5 empty] | 3500 | 85 | 35768 | LED18ET8/G/4/835 | T8 | G13 | 18 | 48 | 20 | 50000 | 2500 | 3500K | 80+ | 93133 | LED18ET8/4/835 | T8 | G13 | 18 | 48 | 25 | 50000 | 2550 | 3500K | 80+
68856 | F32T8/XL/SPX41E2 | T8 | G13 | 32 | 48 | [5 empty] | 4100 | 85 | 35769 | LED18ET8/G/4/840 | T8 | G13 | 18 | 48 | 20 | 50000 | 2500 | 4000K | 80+ | 93135 | LED18ET8/4/840 | T8 | G13 | 18 | 48 | 25 | 50000 | 2550 | 4000K | 80+
68857 | F32T8/XL/SPX50E2 | T8 | G13 | 32 | 48 | [5 empty] | 5000 | 82 | 35772 | LED18ET8/G/4/850 | T8 | G13 | 18 | 48 | 20 | 50000 | 2600 | 5000K | 80+ | 93140 | LED18ET8/4/850 | T8 | G13 | 18 | 48 | 25 | 50000 | 2650 | 5000K | 80+
68858 | F32T8/XL/SPX65E2 | T8 | G13 | 32 | 48 | [5 empty] | 6500 | 78 | 35773 | LED18ET8/G/4/865 | T8 | G13 | 18 | 48 | 20 | 50000 | 2600 | 6500K | 80+
73093 | F32T8/SXL/SPX30/ECO | T8 | G13 | 32 | 48 | 36 | 55000 | 60000 | 2850 | 2675 | 3000 | 84 | 35767 | LED18ET8/G/4/830 | T8 | G13 | 18 | 48 | 20 | 50000 | 2400 | 3000K | 80+ | 31550 | LED18ET8/4/830 | T8 | G13 | 18 | 48 | 25 | 50000 | 2450 | 3000K | 80+
73094 | F32T8/SXL/SPX35/ECO | T8 | G13 | 32 | 48 | 36 | 55000 | 60000 | 2850 | 2675 | 3500 | 83 | 35768 | LED18ET8/G/4/835 | T8 | G13 | 18 | 48 | 20 | 50000 | 2500 | 3500K | 80+ | 93133 | LED18ET8/4/835 | T8 | G13 | 18 | 48 | 25 | 50000 | 2550 | 3500K | 80+
73095 | F32T8/SXL/SPX41/ECO | T8 | G13 | 32 | 48 | 36 | 55000 | 60000 | 2850 | 2675 | 4100 | 81 | 35769 | LED18ET8/G/4/840 | T8 | G13 | 18 | 48 | 20 | 50000 | 2500 | 4000K | 80+ | 93135 | LED18ET8/4/840 | T8 | G13 | 18 | 48 | 25 | 50000 | 2550 | 4000K | 80+
73096 | F32T8/SXL/SPX50/ECO | T8 | G13 | 32 | 48 | 36 | 55000 | 60000 | 2800 | 2630 | 5000 | 80 | 35772 | LED18ET8/G/4/850 | T8 | G13 | 18 | 48 | 20 | 50000 | 2600 | 5000K | 80+ | 93140 | LED18ET8/4/850 | T8 | G13 | 18 | 48 | 25 | 50000 | 2650 | 5000K | 80+
72132 | F17T8/XL/SPX30/WM/ECO | T8 | G13 | 15 | 24 | 24 | 40000 | 45000 | 1200 | 1130 | 3000 | 85 | 35775 | LED8ET8/G/2/830 | T8 | G13 | 8 | 24 | 20 | 50000 | 1300 | 3000K | 80+ | 31557 | LED9ET8/2/830 | T8 | G13 | 9 | 24 | 25 | 50000 | 1350 | 3000K | 80+
72133 | F17T8/XL/SPX35/WM/ECO | T8 | G13 | 15 | 24 | 24 | 40000 | 45000 | 1200 | 1130 | 3500 | 85 | 35776 | LED8ET8/G/2/835 | T8 | G13 | 8 | 24 | 20 | 50000 | 1350 | 3500K | 80+ | 26635 | LED9ET8/2/835 | T8 | G13 | 9 | 24 | 25 | 50000 | 1350 | 3500K | 80+
72134 | F17T8/XL/SPX41/WM/ECO | T8 | G13 | 15 | 24 | 24 | 40000 | 45000 | 1200 | 1130 | 4100 | 82 | 35778 | LED8ET8/G/2/840 | T8 | G13 | 8 | 24 | 20 | 50000 | 1350 | 4000K | 80+ | 26648 | LED9ET8/2/840 | T8 | G13 | 9 | 24 | 25 | 50000 | 1400 | 4000K | 80+
72135 | F17T8/XL/SPX50/WM/ECO | T8 | G13 | 15 | 24 | 24 | 40000 | 45000 | 1175 | 1105 | 5000 | 80 | 35779 | LED8ET8/G/2/850 | T8 | G13 | 8 | 24 | 20 | 50000 | 1400 | 5000K | 80+ | 26676 | LED9ET8/2/850 | T8 | G13 | 9 | 24 | 25 | 50000 | 1400 | 5000K | 80+
72136 | F25T8/XL/SPX30/WM/ECO | T8 | G13 | 22 | 36 | 24 | 40000 | 45000 | 1925 | 1810 | 3000 | 85 | 35783 | LED11ET8/G/3/830 | T8 | G13 | 11 | 36 | 20 | 50000 | 1450 | 3000K | 80+ | 31554 | LED12ET8/3/830 | T8 | G13 | 12 | 36 | 25 | 50000 | 1500 | 3000K | 80+
72137 | F25T8/XL/SPX35/WM/ECO | T8 | G13 | 22 | 36 | 24 | 40000 | 45000 | 1925 | 1810 | 3500 | 85 | 35784 | LED11ET8/G/3/835 | T8 | G13 | 11 | 36 | 20 | 50000 | 1500 | 3500K | 80+ | 26544 | LED12ET8/3/835 | T8 | G13 | 12 | 36 | 25 | 50000 | 1550 | 3500K | 80+
72138 | F25T8/XL/SPX41/WM/ECO | T8 | G13 | 22 | 36 | 24 | 40000 | 45000 | 1925 | 1810 | 4100 | 82 | 35788 | LED11ET8/G/3/840 | T8 | G13 | 11 | 36 | 20 | 50000 | 1500 | 4000K | 80+ | 26625 | LED12ET8/3/840 | T8 | G13 | 12 | 36 | 25 | 50000 | 1550 | 4000K | 80+
72139 | F25T8/XL/SPX50/WM/ECO | T8 | G13 | 22 | 36 | 24 | 40000 | 45000 | 1900 | 1785 | 5000 | 80 | 35789 | LED11ET8/G/3/850 | T8 | G13 | 11 | 36 | 20 | 50000 | 1600 | 5000K | 80+ | 26627 | LED12ET8/3/850 | T8 | G13 | 12 | 36 | 25 | 50000 | 1650 | 5000K | 80+
72128 | F32T8/25W/SPX30/ECO | T8 | G13 | 25 | 48 | 36 | 50000 | 55000 | 2500 | 2350 | 3000 | 85 | 43284 | LED12ET8/G/4/830 | T8 | G13 | 12 | 48 | 20 | 50000 | 1700 | 3000K | 80+ | 61218 | LED12ET8/4/830 | T8 | G13 | 12 | 48 | 25 | 50000 | 1750 | 3000K | 80+
72129 | F32T8/25W/SPX35/ECO | T8 | G13 | 25 | 48 | 36 | 50000 | 55000 | 2500 | 2350 | 3500 | 85 | 43288 | LED12ET8/G/4/835 | T8 | G13 | 12 | 48 | 20 | 50000 | 1750 | 3500K | 80+ | 61223 | LED12ET8/4/835 | T8 | G13 | 12 | 48 | 25 | 50000 | 1800 | 3500K | 80+
72130 | F32T8/25W/SPX41/ECO | T8 | G13 | 25 | 48 | 36 | 50000 | 55000 | 2500 | 2350 | 4100 | 85 | 43291 | LED12ET8/G/4/840 | T8 | G13 | 12 | 48 | 20 | 50000 | 1750 | 4000K | 80+ | 61271 | LED12ET8/4/840 | T8 | G13 | 12 | 48 | 25 | 50000 | 1800 | 4000K | 80+
72131 | F32T8/25W/SPX50/ECO | T8 | G13 | 25 | 48 | 36 | 50000 | 55000 | 2500 | 2350 | 5000 | 80 | 43293 | LED12ET8/G/4/850 | T8 | G13 | 12 | 48 | 20 | 50000 | 1850 | 5000K | 80+ | 61327 | LED12ET8/4/850 | T8 | G13 | 12 | 48 | 25 | 50000 | 1900 | 5000K | 80+
66466 | F32T8/25W/SPP30/ECO | T8 | G13 | 25 | 48 | 36 | 40000 | 45000 | 2500 | 2350 | 3000 | 80 | 43284 | LED12ET8/G/4/830 | T8 | G13 | 12 | 48 | 20 | 50000 | 1700 | 3000K | 80+ | 61218 | LED12ET8/4/830 | T8 | G13 | 12 | 48 | 25 | 50000 | 1750 | 3000K | 80+
66467 | F32T8/25W/SPP35/ECO | T8 | G13 | 25 | 48 | 36 | 40000 | 45000 | 2500 | 2350 | 3500 | 80 | 43288 | LED12ET8/G/4/835 | T8 | G13 | 12 | 48 | 20 | 50000 | 1750 | 3500K | 80+ | 61223 | LED12ET8/4/835 | T8 | G13 | 12 | 48 | 25 | 50000 | 1800 | 3500K | 80+
66468 | F32T8/25W/SPP41/ECO | T8 | G13 | 25 | 48 | 36 | 40000 | 45000 | 2500 | 2350 | 4100 | 80 | 43291 | LED12ET8/G/4/840 | T8 | G13 | 12 | 48 | 20 | 50000 | 1750 | 4000K | 80+ | 61271 | LED12ET8/4/840 | T8 | G13 | 12 | 48 | 25 | 50000 | 1800 | 4000K | 80+
66469 | F32T8/25W/SPP50/ECO | T8 | G13 | 25 | 48 | 36 | 40000 | 45000 | 2500 | 2350 | 5000 | 80 | 43293 | LED12ET8/G/4/850 | T8 | G13 | 12 | 48 | 20 | 50000 | 1850 | 5000K | 80+ | 61327 | LED12ET8/4/850 | T8 | G13 | 12 | 48 | 25 | 50000 | 1900 | 5000K | 80+
93905 | F32T825W/SXL/SPX35/ECO | T8 | G13 | 25 | 48 | 36 | 80000 | 84000 | 2400 | 2260 | 3500 | 82 | 43288 | LED12ET8/G/4/835 | T8 | G13 | 12 | 48 | 20 | 50000 | 1750 | 3500K | 80+ | 61223 | LED12ET8/4/835 | T8 | G13 | 12 | 48 | 25 | 50000 | 1800 | 3500K | 80+
93906 | F32T825W/SXL/SPX41/ECO | T8 | G13 | 25 | 48 | 36 | 80000 | 84000 | 2400 | 2260 | 4100 | 82 | 43291 | LED12ET8/G/4/840 | T8 | G13 | 12 | 48 | 20 | 50000 | 1750 | 4000K | 80+ | 61271 | LED12ET8/4/840 | T8 | G13 | 12 | 48 | 25 | 50000 | 1800 | 4000K | 80+
93907 | F32T825W/SXL/SPX50/ECO | T8 | G13 | 25 | 48 | 36 | 80000 | 84000 | 2400 | 2260 | 5000 | 80 | 43293 | LED12ET8/G/4/850 | T8 | G13 | 12 | 48 | 20 | 50000 | 1850 | 5000K | 80+ | 61327 | LED12ET8/4/850 | T8 | G13 | 12 | 48 | 25 | 50000 | 1900 | 5000K | 80+
72863 | F28T8/XL/SPX30/ECO | T8 | G13 | 28 | 48 | 36 | 45000 | 50000 | 2675 | 2515 | 3000 | 85 | 35790 | LED15ET8/G/4/830 | T8 | G13 | 15 | 48 | 20 | 50000 | 2100 | 3000K | 80+ | 62399 | LED15ET8/4/830 | T8 | G13 | 15 | 48 | 25 | 50000 | 2150 | 3000K | 80+
72864 | F28T8/XL/SPX35/ECO | T8 | G13 | 28 | 48 | 36 | 45000 | 50000 | 2675 | 2515 | 3500 | 85 | 35791 | LED15ET8/G/4/835 | T8 | G13 | 15 | 48 | 20 | 50000 | 2200 | 3500K | 80+ | 62401 | LED15ET8/4/835 | T8 | G13 | 15 | 48 | 25 | 50000 | 2250 | 3500K | 80+
72866 | F28T8/XL/SPX41/ECO | T8 | G13 | 28 | 48 | 36 | 45000 | 50000 | 2675 | 2515 | 4100 | 82 | 35793 | LED15ET8/G/4/840 | T8 | G13 | 15 | 48 | 20 | 50000 | 2200 | 4000K | 80+ | 62402 | LED15ET8/4/840 | T8 | G13 | 15 | 48 | 25 | 50000 | 2250 | 4000K | 80+
72867 | F28T8/XL/SPX50/ECO | T8 | G13 | 28 | 48 | 36 | 45000 | 50000 | 2625 | 2465 | 5000 | 80 | 35797 | LED15ET8/G/4/850 | T8 | G13 | 15 | 48 | 20 | 50000 | 2300 | 5000K | 80+ | 62409 | LED15ET8/4/850 | T8 | G13 | 15 | 48 | 25 | 50000 | 2350 | 5000K | 80+
66346 | F28T8/XL/SPX65/ECO | T8 | G13 | 28 | 48 | 36 | 45000 | 50000 | 2600 | 2440 | 6500 | 78 | 35798 | LED15ET8/G/4/865 | T8 | G13 | 15 | 48 | 20 | 50000 | 2300 | 6500K | 80+ | 62410 | LED15ET8/4/865 | T8 | G13 | 15 | 48 | 25 | 50000 | 2350 | 6500K | 80+
66470 | F28T8/XL/SPP30/ECO | T8 | G13 | 28 | 48 | 36 | 40000 | 45000 | 2600 | 2440 | 3000 | 80 | 35790 | LED15ET8/G/4/830 | T8 | G13 | 15 | 48 | 20 | 50000 | 2100 | 3000K | 80+ | 62399 | LED15ET8/4/830 | T8 | G13 | 15 | 48 | 25 | 50000 | 2150 | 3000K | 80+
66471 | F28T8/XL/SPP35/ECO | T8 | G13 | 28 | 48 | 36 | 40000 | 45000 | 2600 | 2440 | 3500 | 80 | 35791 | LED15ET8/G/4/835 | T8 | G13 | 15 | 48 | 20 | 50000 | 2200 | 3500K | 80+ | 62401 | LED15ET8/4/835 | T8 | G13 | 15 | 48 | 25 | 50000 | 2250 | 3500K | 80+
66472 | F28T8/XL/SPP41/ECO | T8 | G13 | 28 | 48 | 36 | 40000 | 45000 | 2600 | 2440 | 4100 | 80 | 35793 | LED15ET8/G/4/840 | T8 | G13 | 15 | 48 | 20 | 50000 | 2200 | 4000K | 80+ | 62402 | LED15ET8/4/840 | T8 | G13 | 15 | 48 | 25 | 50000 | 2250 | 4000K | 80+
66473 | F28T8/XL/SPP50/ECO | T8 | G13 | 28 | 48 | 36 | 40000 | 45000 | 2600 | 2440 | 5000 | 80 | 35797 | LED15ET8/G/4/850 | T8 | G13 | 15 | 48 | 20 | 50000 | 2300 | 5000K | 80+ | 62409 | LED15ET8/4/850 | T8 | G13 | 15 | 48 | 25 | 50000 | 2350 | 5000K | 80+
93902 | F28T8/SXL/SPX35/ECO | T8 | G13 | 28 | 48 | 36 | 80000 | 84000 | 2600 | 2440 | 3500 | 82 | 35791 | LED15ET8/G/4/835 | T8 | G13 | 15 | 48 | 20 | 50000 | 2200 | 3500K | 80+ | 62401 | LED15ET8/4/835 | T8 | G13 | 15 | 48 | 25 | 50000 | 2250 | 3500K | 80+
93903 | F28T8/SXL/SPX41/ECO | T8 | G13 | 28 | 48 | 36 | 80000 | 84000 | 2600 | 2440 | 4100 | 82 | 35793 | LED15ET8/G/4/840 | T8 | G13 | 15 | 48 | 20 | 50000 | 2200 | 4000K | 80+ | 62402 | LED15ET8/4/840 | T8 | G13 | 15 | 48 | 25 | 50000 | 2250 | 4000K | 80+
93904 | F28T8/SXL/SPX50/ECO | T8 | G13 | 28 | 48 | 36 | 80000 | 84000 | 2600 | 2440 | 5000 | 80 | 35797 | LED15ET8/G/4/850 | T8 | G13 | 15 | 48 | 20 | 50000 | 2300 | 5000K | 80+ | 62409 | LED15ET8/4/850 | T8 | G13 | 15 | 48 | 25 | 50000 | 2350 | 5000K | 80+
10327 | F32T8/XL/SPX30/HL/ECO | T8 | G13 | 32 | 48 | 36 | 40000 | 45000 | 3100 | 2915 | 3000 | 85 | 35767 | LED18ET8/G/4/830 | T8 | G13 | 18 | 48 | 20 | 50000 | 2400 | 3000K | 80+ | 31550 | LED18ET8/4/830 | T8 | G13 | 18 | 48 | 25 | 50000 | 2450 | 3000K | 80+
10326 | F32T8/XL/SPX35/HL/ECO | T8 | G13 | 32 | 48 | 36 | 40000 | 45000 | 3100 | 2915 | 3500 | 85 | 35768 | LED18ET8/G/4/835 | T8 | G13 | 18 | 48 | 20 | 50000 | 2500 | 3500K | 80+ | 93133 | LED18ET8/4/835 | T8 | G13 | 18 | 48 | 25 | 50000 | 2550 | 3500K | 80+
10322 | F32T8/XL/SPX41/HL/ECO | T8 | G13 | 32 | 48 | 36 | 40000 | 45000 | 3100 | 2915 | 4100 | 82 | 35769 | LED18ET8/G/4/840 | T8 | G13 | 18 | 48 | 20 | 50000 | 2500 | 4000K | 80+ | 93135 | LED18ET8/4/840 | T8 | G13 | 18 | 48 | 25 | 50000 | 2550 | 4000K | 80+
42556 | F32T8/XL/SPX50/HL/ECO | T8 | G13 | 32 | 48 | 36 | 40000 | 45000 | 3000 | 2820 | 5000 | 80 | 35772 | LED18ET8/G/4/850 | T8 | G13 | 18 | 48 | 20 | 50000 | 2600 | 5000K | 80+ | 93140 | LED18ET8/4/850 | T8 | G13 | 18 | 48 | 25 | 50000 | 2650 | 5000K | 80+
75318 | F32T8XLSPX50HPAL | T8 | G13 | 32 | 48 |  | 40000 | 45000 | 3000 | 2820 | 5000 | 80
Type C - Glass
28105 | F96T8/SP30/ECO | T8 | Fa8 | 59 | 96 | 24 | 15000 | 20000 | 5700 | 5130 | 3000 | 75 | 62326 | LED36T8/G/8/830 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4200 | 3000K | 80+
28106 | F96T8/SP35/ECO | T8 | Fa8 | 59 | 96 | 24 | 15000 | 20000 | 5700 | 5130 | 3500 | 75 | 62327 | LED36T8/G/8/835 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4400 | 3500K | 80+
28125 | F96T8/SP41/ECO | T8 | Fa8 | 59 | 96 | 24 | 15000 | 20000 | 5700 | 5130 | 4100 | 75 | 62329 | LED36T8/G/8/840 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4400 | 4000K | 80+
41889 | F96T8/XL/SP30 | T8 | Fa8 | 59 | 96 | 24 | 24000 | 30000 | 5800 | 5500 | 3000 | 78 | 62326 | LED36T8/G/8/830 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4200 | 3000K | 80+
41890 | F96T8/XL/SP35 | T8 | Fa8 | 59 | 96 | 24 | 24000 | 30000 | 5800 | 5500 | 3500 | 78 | 62327 | LED36T8/G/8/835 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4400 | 3500K | 80+
41891 | F96T8/XL/SP41 | T8 | Fa8 | 59 | 96 | 24 | 24000 | 30000 | 5800 | 5500 | 4100 | 78 | 62329 | LED36T8/G/8/840 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4400 | 4000K | 80+
67969 | F96T8/XL/SPP35 | T8 | Fa8 | 59 | 96 | 24 | 24000 | 30000 | 5800 | 5220 | 3500 | 80 | 62326 | LED36T8/G/8/830 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4200 | 3000K | 80+
67970 | F96T8/XL/SPP41 | T8 | Fa8 | 59 | 96 | 24 | 24000 | 30000 | 5800 | 5220 | 4100 | 80 | 62327 | LED36T8/G/8/835 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4400 | 3500K | 80+
67971 | F96T8/XL/SPP50 | T8 | Fa8 | 59 | 96 | 24 | 24000 | 30000 | 5800 | 5220 | 5000 | 80 | 62329 | LED36T8/G/8/840 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4400 | 4000K | 80+
41892 | F96T8/XL/SPX30 | T8 | Fa8 | 59 | 96 | 24 | 24000 | 30000 | 5950 | 5650 | 3000 | 85 | 62326 | LED36T8/G/8/830 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4200 | 3000K | 80+
41893 | F96T8/XL/SPX35 | T8 | Fa8 | 59 | 96 | 24 | 24000 | 30000 | 5950 | 5650 | 3500 | 85 | 62327 | LED36T8/G/8/835 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4400 | 3500K | 80+
41894 | F96T8/XL/SPX41 | T8 | Fa8 | 59 | 96 | 24 | 24000 | 30000 | 5950 | 5650 | 4100 | 85 | 62329 | LED36T8/G/8/840 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4400 | 4000K | 80+
45497 | F96T8/XL/SPX50 | T8 | Fa8 | 59 | 96 | 24 | 24000 | 30000 | 5950 | 5650 | 5000 | 82 | 62349 | LED36T8/G/8/850 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 5000 | 5000K | 80+
68868 | F96T8/XL/SPX30/2 | T8 | Fa8 | 59 | 96 | 24 | 24000 | 30000 | 5950 | 5650 | 3000 | 85 | 62326 | LED36T8/G/8/830 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4200 | 3000K | 80+
68869 | F96T8/XL/SPX35/2 | T8 | Fa8 | 59 | 96 | 24 | 24000 | 30000 | 5950 | 5650 | 3500 | 85 | 62327 | LED36T8/G/8/835 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4400 | 3500K | 80+
68870 | F96T8/XL/SPX41/2 | T8 | Fa8 | 59 | 96 | 24 | 24000 | 30000 | 5950 | 5650 | 4100 | 85 | 62329 | LED36T8/G/8/840 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4400 | 4000K | 80+
68871 | F96T8/XL/SPX50/2 | T8 | Fa8 | 59 | 96 | 24 | 24000 | 30000 | 5950 | 5650 | 5000 | 82 | 62349 | LED36T8/G/8/850 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 5000 | 5000K | 80+
66891 | F96T8/54W/SPP35 | T8 | Fa8 | 54 | 96 | 24 | 24000 | 30000 | 5250 | 4900 | 3500 | 80 | 62327 | LED36T8/G/8/835 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4400 | 3500K | 80+
66892 | F96T8/54W/SPP41 | T8 | Fa8 | 54 | 96 | 24 | 24000 | 30000 | 5250 | 4900 | 4100 | 80 | 62329 | LED36T8/G/8/840 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4400 | 4000K | 80+
66893 | F96T8/54W/SPP50 | T8 | Fa8 | 54 | 96 | 24 | 24000 | 30000 | 5250 | 4900 | 5000 | 80 | 62349 | LED36T8/G/8/850 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 5000 | 5000K | 80+
47072 | F96T8/XL/SP30WMP | T8 | Fa8 | 54 | 96 | 24 | 24000 | 30000 | 5800 | 5450 | 3000 | 85 | 62326 | LED36T8/G/8/830 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4200 | 3000K | 80+
47076 | F96T8/XL/SP35WMP | T8 | Fa8 | 54 | 96 | 24 | 24000 | 30000 | 5800 | 5450 | 3500 | 85 | 62327 | LED36T8/G/8/835 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4400 | 3500K | 80+
47103 | F96T8/XL/SP41WMP | T8 | Fa8 | 54 | 96 | 24 | 24000 | 30000 | 5800 | 5450 | 4100 | 82 | 62329 | LED36T8/G/8/840 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4400 | 4000K | 80+
66889 | F96T8/XL/SP50WMP | T8 | Fa8 | 54 | 96 | 24 | 24000 | 30000 | 5500 | 5160 | 5000 | 80 | 62349 | LED36T8/G/8/850 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 5000 | 5000K | 80+
66890 | F96T8/XL/SP65WMP | T8 | Fa8 | 54 | 96 | 24 | 24000 | 30000 | 5400 | 5020 | 6500 | 78 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
66894 | F96T8/49W/SPP35 | T8 | Fa8 | 49 | 96 | 24 | 24000 | 30000 | 4800 | 4500 | 3500 | 80 | 62327 | LED36T8/G/8/835 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4400 | 3500K | 80+
66895 | F96T8/49W/SPP41 | T8 | Fa8 | 49 | 96 | 24 | 24000 | 30000 | 4800 | 4500 | 4100 | 80 | 62329 | LED36T8/G/8/840 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4400 | 4000K | 80+
66896 | F96T8/49W/SPP50 | T8 | Fa8 | 49 | 96 | 24 | 24000 | 30000 | 4800 | 4500 | 5000 | 80 | 62349 | LED36T8/G/8/850 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 5000 | 5000K | 80+
79401 | F96T8/49W/SPX30 | T8 | Fa8 | 49 | 96 | 24 | 24000 | 30000 | 5000 | 4700 | 3000 | 84 | 62326 | LED36T8/G/8/830 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4200 | 3000K | 80+
79402 | F96T8/49W/SPX35 | T8 | Fa8 | 49 | 96 | 24 | 24000 | 30000 | 5000 | 4700 | 3500 | 84 | 62327 | LED36T8/G/8/835 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4400 | 3500K | 80+
79403 | F96T8/49W/SPX41 | T8 | Fa8 | 49 | 96 | 24 | 24000 | 30000 | 5000 | 4700 | 4100 | 83 | 62329 | LED36T8/G/8/840 | T8 | Fa8 | 30 | 96 | 20 | 50000 | 4400 | 4000K | 80+
10479 | F32T8/SP30/U/6 | T8 | G13 | 32 | 22.5 | 12 | 20000 |  | 2700 | 2565 | 3000 | 78 | [11 empty] | 43120 | LED13ET8/U6/830 | T8 | G13 | 13 | 22.5 | 12 | 50000 | 1800 | 3000K | 80+
23585 | F32T8/SP35/U/6 | T8 | G13 | 32 | 22.5 | 12 | 20000 |  | 2700 | 2565 | 3500 | 78 | [11 empty] | 43125 | LED13ET8/U6/835 | T8 | G13 | 13 | 22.5 | 12 | 50000 | 1850 | 3500K | 80+
10480 | F32T8/SP41/U/6 | T8 | G13 | 32 | 22.5 | 12 | 20000 |  | 2700 | 2565 | 4100 | 78 | [11 empty] | 43129 | LED13ET8/U6/840 | T8 | G13 | 13 | 22.5 | 12 | 50000 | 1900 | 4000K | 80+
10483 | F32T8/SPX30/U/6 | T8 | G13 | 32 | 22.5 | 12 | 20000 |  | 2800 | 2630 | 3000 | 82 | [11 empty] | 43120 | LED13ET8/U6/830 | T8 | G13 | 13 | 22.5 | 12 | 50000 | 1800 | 3000K | 80+
10485 | F32T8/SPX35/U/6 | T8 | G13 | 32 | 22.5 | 12 | 20000 |  | 2800 | 2630 | 3500 | 82 | [11 empty] | 43125 | LED13ET8/U6/835 | T8 | G13 | 13 | 22.5 | 12 | 50000 | 1850 | 3500K | 80+
10488 | F32T8/SPX41/U/6 | T8 | G13 | 32 | 22.5 | 12 | 20000 |  | 2800 | 2630 | 4100 | 82 | [11 empty] | 43129 | LED13ET8/U6/840 | T8 | G13 | 13 | 22.5 | 12 | 50000 | 1900 | 4000K | 80+
10489 | F32T8/SPX50/U/6 | T8 | G13 | 32 | 22.5 | 12 | 20000 |  | 2660 | 2510 | 5000 | 82 | [11 empty] | 43130 | LED13ET8/U6/850 | T8 | G13 | 13 | 22.5 | 12 | 50000 | 1900 | 5000K | 80+
68920 | F32T8/SPX30/U6/2 | T8 | G13 | 32 | 22.5 | 12 | 20000 |  | 2800 | 2630 | 3000 | 82 | [11 empty] | 43120 | LED13ET8/U6/830 | T8 | G13 | 13 | 22.5 | 12 | 50000 | 1800 | 3000K | 80+
68921 | F32T8/SPX35/U6/2 | T8 | G13 | 32 | 22.5 | 12 | 20000 |  | 2800 | 2630 | 3500 | 82 | [11 empty] | 43125 | LED13ET8/U6/835 | T8 | G13 | 13 | 22.5 | 12 | 50000 | 1850 | 3500K | 80+
68922 | F32T8/SPX41/U6/2 | T8 | G13 | 32 | 22.5 | 12 | 20000 |  | 2800 | 2630 | 4100 | 82 | [11 empty] | 43129 | LED13ET8/U6/840 | T8 | G13 | 13 | 22.5 | 12 | 50000 | 1900 | 4000K | 80+
68923 | F32T8/SPX50/U6/2 | T8 | G13 | 32 | 22.5 | 12 | 20000 |  | 2660 | 2510 | 5000 | 82 | [11 empty] | 43130 | LED13ET8/U6/850 | T8 | G13 | 13 | 22.5 | 12 | 50000 | 1900 | 5000K | 80+
28145 | F32T8/SP30/U6/ECO | T8 | G13 | 32 | 22.5 | 12 | 20000 |  | 2700 | 2375 | 3000 | 78 | [11 empty] | 43120 | LED13ET8/U6/830 | T8 | G13 | 13 | 22.5 | 12 | 50000 | 1800 | 3000K | 80+
28149 | F32T8/SP35/U6/ECO | T8 | G13 | 32 | 22.5 | 12 | 20000 |  | 2700 | 2375 | 3500 | 78 | [11 empty] | 43125 | LED13ET8/U6/835 | T8 | G13 | 13 | 22.5 | 12 | 50000 | 1850 | 3500K | 80+
28152 | F32T8/SP41/U6/ECO | T8 | G13 | 32 | 22.5 | 12 | 20000 |  | 2700 | 2375 | 4100 | 78 | [11 empty] | 43129 | LED13ET8/U6/840 | T8 | G13 | 13 | 22.5 | 12 | 50000 | 1900 | 4000K | 80+
72111 | F32T8/SPX30/U6/ECO | T8 | G13 | 32 | 22.5 | 12 | 20000 |  | 2800 | 2465 | 3000 | 82 | [11 empty] | 43120 | LED13ET8/U6/830 | T8 | G13 | 13 | 22.5 | 12 | 50000 | 1800 | 3000K | 80+
72112 | F32T8/SPX35/U6/ECO | T8 | G13 | 32 | 22.5 | 12 | 20000 |  | 2800 | 2465 | 3500 | 82 | [11 empty] | 43125 | LED13ET8/U6/835 | T8 | G13 | 13 | 22.5 | 12 | 50000 | 1850 | 3500K | 80+
72113 | F32T8/SPX41/U6/ECO | T8 | G13 | 32 | 22.5 | 12 | 20000 |  | 2800 | 2465 | 4100 | 82 | [11 empty] | 43129 | LED13ET8/U6/840 | T8 | G13 | 13 | 22.5 | 12 | 50000 | 1900 | 4000K | 80+
72114 | F32T8/SPX30/U6/WM/ECO | T8 | G13 | 30 | 22.5 | 12 | 24000 |  | 2800 | 2465 | 3000 | 82 | [11 empty] | 43120 | LED13ET8/U6/830 | T8 | G13 | 13 | 22.5 | 12 | 50000 | 1800 | 3000K | 80+
72115 | F32T8/SPX35/U6/WM/ECO | T8 | G13 | 30 | 22.5 | 12 | 24000 |  | 2800 | 2465 | 3500 | 82 | [11 empty] | 43125 | LED13ET8/U6/835 | T8 | G13 | 13 | 22.5 | 12 | 50000 | 1850 | 3500K | 80+
72116 | F32T8/SPX41/U6/WM/ECO | T8 | G13 | 30 | 22.5 | 12 | 24000 |  | 2800 | 2465 | 4100 | 82 | [11 empty] | 43129 | LED13ET8/U6/840 | T8 | G13 | 13 | 22.5 | 12 | 50000 | 1900 | 4000K | 80+
67394 | F28T8/SPX30/U6/ECO | T8 | G13 | 28 | 22.5 | 12 | 20000 | 24000 | 2500 | 2200 | 3000 | 82 | [11 empty] | 43120 | LED13ET8/U6/830 | T8 | G13 | 13 | 22.5 | 12 | 50000 | 1800 | 3000K | 80+
67395 | F28T8/SPX35/U6/ECO | T8 | G13 | 28 | 22.5 | 12 | 20000 | 24000 | 2500 | 2200 | 3500 | 82 | [11 empty] | 43125 | LED13ET8/U6/835 | T8 | G13 | 13 | 22.5 | 12 | 50000 | 1850 | 3500K | 80+
67396 | F28T8/SPX41/U6/ECO | T8 | G13 | 28 | 22.5 | 12 | 20000 | 24000 | 2500 | 2200 | 4100 | 82 | [11 empty] | 43129 | LED13ET8/U6/840 | T8 | G13 | 13 | 22.5 | 12 | 50000 | 1900 | 4000K | 80+
Type C Plastic
72117 | F31T8SPX30/U/ECO | T8 | G13 | 31 | 22.5 | 15 | 24000 |  | 2775 | 2440 | 3000 | 82
72118 | F31T8SPX35/U/ECO | T8 | G13 | 31 | 22.5 | 15 | 24000 |  | 2775 | 2440 | 3500 | 82 | [11 empty] | 28084 | LED14T8/U/835 | T8 | G13 | 12 | 22.5 | 15 | 50000 | 1700 | 3500K | 80+
72119 | F31T8SPX41/U/ECO | T8 | G13 | 31 | 22.5 | 15 | 24000 |  | 2775 | 2440 | 4100 | 82 | [11 empty] | 28164 | LED14T8/U/840 | T8 | G13 | 12 | 22.5 | 15 | 50000 | 1700 | 4000K | 80+
62172 | F29T8SPX30/U/ECO | T8 | G13 | 29 | 22.5 | 15 | 24000 |  | 2500 | 2200 | 3000 | 82
62173 | F29T8SPX35/U/ECO | T8 | G13 | 29 | 22.5 | 15 | 24000 |  | 2500 | 2200 | 3500 | 82 | [11 empty] | 28084 | LED14T8/U/835 | T8 | G13 | 12 | 22.5 | 15 | 50000 | 1700 | 3500K | 80+
62174 | F29T8SPX41/U/ECO | T8 | G13 | 29 | 22.5 | 15 | 24000 |  | 2500 | 2200 | 4100 | 82 | [11 empty] | 28164 | LED14T8/U/840 | T8 | G13 | 12 | 22.5 | 15 | 50000 | 1700 | 4000K | 80+
62169 | F26T8SPX30/U/ECO | T8 | G13 | 26 | 22.5 | 15 | 24000 |  | 2250 | 1980 | 3000 | 82
62170 | F26T8SPX35/U/ECO | T8 | G13 | 26 | 22.5 | 15 | 24000 |  | 2250 | 1980 | 3500 | 82 | [11 empty] | 28084 | LED14T8/U/835 | T8 | G13 | 12 | 22.5 | 15 | 50000 | 1700 | 3500K | 80+
62171 | F26T8SPX41/U/ECO | T8 | G13 | 26 | 22.5 | 15 | 24000 |  | 2250 | 1980 | 4100 | 82 | [11 empty] | 28164 | LED14T8/U/840 | T8 | G13 | 12 | 22.5 | 15 | 50000 | 1700 | 4000K | 80+